## Data
Weather data
| No. days | Cumulative seconds | Average outdoor temperature (°C) | Maximum outdoor temperature (°C) | Minimum outdoor temperature (°C) | Max 6h average radiation (south) [W] | Average monthly radiation (south) [W] | Max 6h average radiation (north) [W] | Average monthly radiation (north) [W]
January | 31 | 2678400 | 3.6 | 14.3 | -7.6 | 718.39 | 41.31 | 66.64 | 7.76
February | 28 | 5097600 | 4.5 | 14.7 | -5.5 | 734 | 69.09 | 101.6 | 13.85
March | 31 | 7776000 | 7.3 | 17.9 | -2.1 | 729.7 | 80.69 | 140.1 | 23.61
April | 30 | 10368000 | 9.8 | 19.9 | -0.7 | 636.6 | 92.05 | 169.8 | 38.42
May | 31 | 13046400 | 13.9 | 26.3 | 3.6 | 574.964 | 87.5 | 234.6207 | 58.14
June | 30 | 15638400 | 16.6 | 27.5 | 7.4 | 534.0189 | 82.42 | 242.5054 | 57.57
July | 31 | 18316800 | 18.1 | 29.4 | 10.2 | 555.0326 | 83.65 | 257.5101 | 58.42
August | 31 | 20995200 | 18.7 | 29.3 | 11 | 602.1357 | 98.07 | 177.7041 | 54.24
September | 30 | 23587200 | 15.2 | 29.1 | 6.9 | 777.9027 | 94.15 | 160.0384 | 27.75
October | 31 | 26265600 | 11.4 | 21.1 | 3.9 | 768.97 | 87.71 | 107.8594 | 22.58
November | 30 | 28857600 | 6.7 | 15.8 | -1.5 | 662.3044 | 55.34 | 70.4642 | 8.98
December | 31 | 31536000 | 4 | 13.4 | -4.8 | 519.4114 | 30.9 | 47.1631 | 6.27
Air properties
Density | 1.225 | kg/m3
Heat capacity | 1005 | J/kg/K
Building data
Area zone north | 500 | m²
Area zone south | 500 | m²
Building lenght |  | m
Building width |  | m
Building height | 2.7 | m
Window-to-wall ratio | 40%
A_roof |  | m²
A_floor |  | m²
A_envelope |  | m²
A_wall_north |  | m²
A_wall_east |  | m²
A_wall_south |  | m²
A_wall_west |  | m²
A_windows_north |  | m²
A_windows_south |  | m²
Occupants | 60 | p
Set-points
TdesHea | 21 | °C
TdesCoo | 24.5 | °C
| Building 1 | Building 2
U_roof | 0.16 | 0.32 | W/(m²K)
U_walls | 0.2 | 0.51 | W/(m²K)
U_floor | 0.16 | 0.32 | W/(m²K)
U_windows | 1.1 | 5.95 | W/(m²K)
g_windows | 0.42 | 1 | -
n50 | 1.3 | 8.2 | 1/h
| Building evaluated |  | 1
| Building 1 | Building 2 | Evaluated
UA_roof |  |  | 0
UA_floor |  |  | 0
UA_wall_noth |  |  | 0
UA_wall_east |  |  | 0
UA_wall_south |  |  | 0
UA_wall_west |  |  | 0
UA_windows_north |  |  | 0
UA_windows_south |  |  | 0
gA_windows_north |  |  | 0
gA_windows_south |  |  | 0
n50 | 1.3 | 8.2 | 1.3
Occupants | 60 | 60 | 60

## Building loads
PEAK LOADS |  |  | Heating loads |  |  |  | Cooling loads
| Hea? | Coo? | Transmission losses (W) | Infiltration losses (W) | Total heating (W) | Heating per m² (W) | Transmission gains (W) | Radiation gains (W) | Infiltration losses (W) | Internal gains (W) | Total cooling (W) | Cooling per m² (W)
January | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
February | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
March | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
April | TRUE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
May | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
June | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
July | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
August | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
September | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
October | TRUE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
November | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
December | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
[5 empty] | MAX | 0 |  |  |  |  | MAX | 0
MONTHLY LOADS |  |  | Heating loads |  |  |  | Cooling loads
| Hea? | Coo? | Transmission losses (W) | Infiltration losses (W) | Total heating (W) | Heating per m² (W) | Transmission gains (W) | Radiation gains (W) | Infiltration losses (W) | Internal gains (W) | Total cooling (W) | Cooling per m² (W)
January | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
February | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
March | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
April | TRUE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
May | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
June | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
July | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
August | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
September | FALSE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
October | TRUE | TRUE |  |  | 0 |  |  |  |  | 0 | 0
November | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
December | TRUE | FALSE |  |  | 0 |  |  |  |  | 0 | 0
[5 empty] | MAX | 0 |  |  |  |  | MAX | 0

## Ground loads
COP = | 4.9
GROUND MONTHLY LOADS |  |  |  | GROUND YEARLY LOAD |  | GROUND PEAK LOADS
| Heating (W) | Cooling (W) | No.days | Heating energy (W.day) | Cooling energy (W.day) | Heating | Cooling
January |  |  | 31
February |  |  | 28
March |  |  | 31
April |  |  | 30
May |  |  | 31
June |  |  | 30
July |  |  | 31
August |  |  | 31
September |  |  | 30
October |  |  | 31
November |  |  | 30
December |  |  | 31
MAX | 0 | 0 | SUM | 0 | 0 | MAX HEA | MAX COO
|  |  | UNBALANCE |  | W | 0 | 0